Reclosers and Other Distribution Equipment Subcommittee

Meeting Minutes

Galveston, Texas – October 1, 2002

| Members | Present: | Guests: |
| --- | --- | --- |
| Chris Ambrose Ray Capra Ian Harvey Harry Hirz George House Steve Meiners | Tim Royster John St. Clair Ed Steele Dave Stone Bill Walter | KaMing Law Timothy Roscoe Tom Tobin |

1.   Call to order

The meeting was called to order at 2:00 PM by Dave Stone (acting chairman for John Wood).   There were 11 members and 3 guests present. The current RODE membership is 28 (see enclosed membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

None

4.   Approval of Minutes

The minutes of the Spring 2002 meeting were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

6.  Working Group Reports

a) Recloser Standards C37.60 and C37.61  Working Group Chairman Dave Stone reported the following:

The Working Group met on 30 September 2002 from 8:00 AM until noon.  Eleven members of the working Group and nine guests were present at the meeting.  David T. Stone, Working Group Chairman, presided over the meeting

It was reported that Draft PC37.60/D12 dated 14 March, 2002 completed its first re-circulation ballot on May 17, 2002.  The ballot was successful with a 92% return and 91% affirmative.  Six negative ballots were received along with a host of editorial comments.  PC37.60/D14 was sent out for the second re-circulation ballot on September 20, 2002.  It has a closing date of October 28.

The balance of the meeting was spent reviewing the technical comments received in the May ballot and their respective resolutions.  Two issues commanded the most attention, namely the TRV values for Fault Interrupters and the Partial Discharge test requirements.

It was decided to allow C37.61, the Recloser application guide, to be withdrawn.  It cannot be reaffirmed as it is far out of step with the propose new C37.60.  Much of the material is dated and there appears to be little interest in the work effort to create a new, updated guide.  A suggestion was made to retain (salvaging) some of the material in the form of an annex to the main recloser standard.  The WG was asked to review the guide and identify the material that might take this path.  A supplement to C37.60 might be issued to cover this material.   The WG Chair will follow up on this suggestion.

Reference:

- IEEE C37.60-1981 (Reaff 1993), Standard Requirements for Overhead, Pad-Mounted, Dry-Vault, and Submersible Automatic Circuit Reclosers and Fault Interrupters for AC Systems (ANSI)

- IEEE C37.61-1973 (Reaff 1993), Standard Guide for the Application, Operation, and Maintenance of Automatic Circuit Reclosers (ANSI)

- Based on the expectation that the current ballot for PC37.60 will be successful I do not see a need for a meeting of the WG in May of 2003 unless sufficient interest in the application guide material develops.

- David T. Stone, Working Group Chairman, C37.60 & C37.61

- Reclosers and Other Distribution Switchgear Subcommittee

- 12 October 2002

- b)Sectionalizer Standard C37.63  Working Group Chairman Marcel Fortin reported the following:

# Revision of C37.63

# Minutes of meeting held in Galveston, TX, on October 2, 2002, from 1h30 to 2h45 pm.

## Attendance

- 7 persons attended the meeting. WG members presents are:

- Marcel Fortin, chair

- Dave Stone

- Jan Zawadzki

- Ka Ming Law

- George House

- Edward Jankowich

- Mietek Glinkowski

## Results

- Pending issues were reviewed and discussed.

- A new draft will be prepared by the chair, for October 11 and re-circulate to members and guests for validation and comments by email for end of October. No major pending issues being left unresolved, the chair will then proceed for ballot before end of the year.

- It is planed to have a meeting in St-Pete; a 1h30 meeting period will be enough.

- c) Capacitor Switch Standard C37.66  Working Group Chairman Harry Hirz reported the following:

- The Working Group met on Monday, September 30, 2002 from 1:30 AM until 5:30 PM.  There were 8 members of the working group and 13 guests present at the meeting.  Harry Hirz, Working Group Chairman, presided over the meeting

- Draft PC37.66/D9, dated September 2002, was sent out one week prior to the meeting for comments and discussion.  The draft was reviewed and discussed page by page in order to prepare the document for balloting by the end of 2002.  The group extended discussion and review over the next two days in order to review the draft in its entirety.  The only real remaining item was to complete the rating tables without eliminating past ratings.  Draft 10 is due to be released to the working members by the end of October for one last review before balloting.  All comments will be due two weeks after receiving Draft 10.  A request for a balloting pool is to take place during the middle of November.   The goal is to be out for balloting by the middle of December 2002.

- Harry Hirz

- Working Group Chairman, C37.66

- Standard Requirements for Capacitor Switches for Alternating-Current Systems Subcommittee

- Oct. 28, 2002

- d) Underground Subsurface and Pad-mounted Equipment Standard PC37.74    Working Group Chairman Dave Stone reported the following:

- The Working Group met on 2 October 2002 from 8:00 AM to 11:00 AM.  Seven members of the working Group and eleven guests present at the meeting.

- It was reported that Draft PC37.74/D4 completed its first ballot on May 29, 2002.  The ballot was successful with a 91% return an 80% affirmative vote.  Ten negative ballots were received along with a host of editorial comments.  PC37.74/D5 was sent out for the first re-circulation ballot on September 23, 2002.  It has a closing date of October 30.

- The balance of the meeting was spent reviewing the technical comments received in the May ballot and their respective resolutions.  One issue commanded the most attention, namely the Partial Discharge test requirements.

- Based on the expectation that the current ballot will be successful and that a resolution to the partial discharge test requirements can be attained, I do not see the need for a meeting of the Working Group in May of 2003.

- Reference:

- IEEE  PC37.74 -  Standard Requirements for Subsurface, Vault, and Pad-mounted Load-Interrupter Switchgear and Fused Load-Interrupter Switchgear for Alternating Current Systems Up to 38 kV

- David T. Stone

- Working Group Chairman

- PC37.74

- Reclosers and Other Distribution Switchgear Subcommittee

- 12 October 2002

- e) Task Force on Controls for Distribution Equipment   Task Force Chairman Bill Hurst reported the following:

- Attendees:  A total of fourteen (14) people were present.  A list of names and contact information is attached, including who signed up as members and guests.  Members are expected to actively participate in evaluating and responding to all correspondence and guests are welcome to do the same.

- The attached “Task Force Purpose” and IEC standards list were distributed.

- The following three categories of action items were agreed upon:

# Literature Review

- The following people agreed to research existing standards and other technical documentation.  A listing of the documents identified along with comments relevant to identifying voids regarding distribution applications of controls is to be completed by 12-31-02.

- Temperature, Humidity, Frost – Chuck Ball

- Mechanical Vibration – Bill Hurst

- Harmonics – To be Determined

- Grounding Variations – Harry Hirz

- Electro-Magnetic Interference – Bob Behl

- Lightning and other Surges – Frank DeCasaro

- We still need a volunteer to investigate harmonics.

# Recommendations/Observations

- The same people who perform the literature review will complete written observations and recommendations by 3-1-03 regarding how to address any voids that are identified.

- Bill Hurst will investigate placing this information on the IEEE Website for easy access to updates.

- Bill Hurst will investigate the ability to obtain copies of IEEE and non-IEEE documents for task force participants.  He will also investigate whether it is permissible to distribute personal copies of documents within the task force.

# Survey

Bill Hurst will complete a survey of manufacturers and users regarding actual experience or suspected voids in standards for the six topics.  The survey will be limited to one to two introduction questions and one question for each of the six topics.  Please submit any suggested survey questions to Bill Hurst by 10-18-02 and I will circulate a draft of the survey to all members and guests for comments by 11-1-02.

7.  Enclosures and Attachments

- See the enclosed RODE Status Report.

- See the enclosed RODE Membership Roster

8.   Old Business

None

9.   New Business

None

10. Next Meetings:

- 4 – 8 May 2003, St. Pete Beach, Florida (Tradewinds Serata Beach Resort)

- Fall 2003, Portland. OR?

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee