C37.59 W/G Minutes for meeting 2PM-4PM September 23, 2003     9/23/03

Attending: 11 members and 5 guests

Summary of Meeting:

The various items from the previous version of the “punch sheet” were reviewed so that the sheet could be updated. Several new items were added such as the future inclusion of conversions of  generator breakers. A copy of the updated “punch sheet” will be attached to the formal minutes of the meeting.

A number of interesting conversions were discussed such as field installation kits to strengthen existing switch gear against internal faults (with no guarantee against performance to be expected.

It was also proposed that we should remove all references to low voltage Ground & Tests from C37.59-2002, as none have been observed to be presently manufactured or applied, and there are significant technical problems in designing and applying such a device. The Chair will initiate appropriate action.

Pete Dwyer – W/G Chair

File !b23wgminutes