| Document | Title | SPONSOR | Present Status | Work Cycle | Type of Standard (1) | Working Group Chair – 0R – Person to contact with questions | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1325-1996 (R2001) | Failure Reporting Form for Power Circuit Breakers | Q&R | Current | 2006 | AG | William J. Bergman | Coordinates with C37.10 |
| C37.04- 1999 | IEEE Standard Rating Structure for AC High Voltage Circuit Breakers | HVCB | Current 1999 | 2004 | RS | vacant |  |
| PC37.04-a 1999 | IEEE Standard Rating Structure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis: Amendment 1: Capacitance Current Switching | HVCB | IN WORK | 2004 | RS | Roy Alexander | Capacitance Current Switching New “C0” Class added |
| PC37.04-b 1999 | IEEE Standard Rating Structure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis: Amendment 2: TRV Requirements | HVCB | IN WORK | 2004 | RS | R. Kirkland Smith | TRV supplement – for new 4-Parameter method (>100 kV) and 2-Parameter method (<100 kV) |
| C37.06- 2000 | Schedules of Preferred Ratings and Related Required Capabilities for AC High Voltage Circuit Breakers Rated on A Symmetrical Current Basis | HVCB | Current 2000 IN WORK | 2005 | PR | Georges Montillet | Some early revision efforts and reaction to them indicate that this standard may take more than one year to revise, ballot and get approved. Current revision approved 5-00. |
| C37.06.1-1997 | Trial-Use Guide for High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis Designated “Definite Purpose for Fast Transient Recovery Voltage Rise Times” | HVCB | Current 1999 PAR Re- quested | 2005 | PR | Georges Montillet | Revision effort due to start in 2003. Current revision approved 3-00. May need to be merged into C37.06? |
| C37.09 | IEEE Standard Test Procedure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | HVCB | Current 1999 | 2004 | DT | vacant | See C37.04 |
| PC37.09a | IEEE Standard Test Procedure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis: Amendment 1: Capacitance Current Switching | HVCB | IN WORK | 2005 | DT | Roy Alexander | See C37.04a |
| PC37.09b | IEEE Standard Test Procedure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis: TRV Requirements | HVCB | IN WORK | 2005 | DT | R. Kirkland Smith | See C37.04b |
| C37.010 | IEEE Application Guide for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | HVCB | Current 1999 | 2004 | AG | Yasin Musa |  |
| PC37.011 | IEEE Application Guide for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis: TRV Requirements | HVCB | IN WORK | 2005 | AG | Denis Dufournet | Coordinate with C37.04a and C37.09a |
| PC37.012 | IEEE Application Guide for Capacitance Current Switching for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | HVCB | IN WORK | 2005 | AG | Anne Bosma | Coordinate with C37.04b and C37.09b |
| C37.013 1997 | IEEE Standard for AC High-Voltage Generator Circuit Breakers Rated on a Symmetrical Current Basis | HVCB | Current | 2003 | RS, PR, DT, AG | R. William Long | Extend – Revise to combine C37.013a |
| PC37.013a | Standard for AC High Voltage Generator Circuit Breakers Rated on a Symmetrical Current Basis – Amendment 1: Supplement for use with Generators Rated 10-100 MVA | HVCB | IN WORK | 2003 | PR | R. William Long | Add more detailed Gen. CB ratings for Generator circuits rated 10 MVA – 100 MVA |
| C37.015 | Application Guide for Inductive Current Switching | HVCB | Current |  | AG | David Peelo |  |
| PC37.016 | Standard for AC High-Voltage Circuit Switchers rated 15 kV through 245 kV | Ckt. Swchr. | IN WORK | 2004 | RS, PR, DT, AG | Randall Dotson |  |
| C37.081 | IEEE Guide for Synthetic Fault Testing of AC High-Voltage Circuit Breakers Rated on a Symmetrical Current basis |  |  |  |  |  |  |
| C37.081a 1997 | Supplement to C37.081-1981 |  |  | 2003 |  |  |  |
| C37.082 (R2000) | IEEE Standard Methods for the Measurement of Sound Pressure Levels of AC Power Circuit Breakers |  |  | 2005 |  |  |  |
| C37.083 1999 | IEEE Guide to Synthetic Capacitor Current Switching Test of AC High-Voltage Circuit Breakers |  |  | 2004 |  |  |  |
| C37.10 1996 (R2001) | IEEE Guide for Diagnostics and Failure Investigation of Power Circuit Breakers | Q&R | Current | 2006 | AG | William J. Bergman | Coordinates with 1325 |
| C37.10.1 2001 | Guide for the Selection of Monitoring for Circuit Breakers | Q&R | Current | 2006 | AG | William J. Bergman |  |
| C37.11 1997 (R2003) | IEEE Standard Requirements for Electrical Control for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | HVCB | Current | 2008 | C | R. William Long |  |
| PC37.12 1991 | AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis— Specification Guide | HVCB | IN WORK | 2006 | AG | Ken Edwards | Orig. sponsor, EEI. IEEE to revise. |
| PC37.12.1 | IEEE Guide for High Voltage (>1000V) Circuit Breaker Instruction Manual Content | HVCB | IN WORK | 2006 | AG | William J. Bergman | First draft of new guide under development. PAR approved |
| C37.54- 1996 | Conformance Test Procedures for Indoor AC High Voltage Circuit Breaker Applied as Removable Elements in Metal-Enclosed Switchgear | NEMA SG-5 | Current 2002 | 2007 | CT | Ted Olsen | Summer 2002 letter ballot results indicate approval. Awaiting BSR-9 submission to ANSI for final approval to publish. Current standard approved 1-97. |
| C37.55- 1989 | Conformance Test Procedures for Metal-Clad Switchgear Assemblies | NEMA SG-5 | Current 2002 | 2007 | CT | Ted Olsen | Spring 2002 letter ballot results indicate approval. Awaiting BSR-9 submission to ANSI for final approval to publish. Current standard reaffirmed 1-97. |
| C37.56 | Conformance Test Procedures for Frame and Pad Mounted Circuit Breakers through 72.5kV | NEMA SG-5 | Current | ???? | CT | Ted Olsen | Need update from G. Sakats on status. Reserved but never created. |
| C37.85 | Safety Requirements for X-Radiation Limits for AC High Voltage Power Vacuum Interrupters used in Power Switchgear | NEMA | Current 2002 | 2007 | DT, PT | Ted Olsen | Spring 2002 letter ballot successful. |
| C37.1-1994 | IEEE Standard Definition, Specification, and Analysis of Systems Used for Supervisory Control, Data Acquisition, and Automatic Control |  |  |  |  |  |  |
| C37.2-1996 (R2001) | IEEE Standard Electrical Power System Device Function Numbers and Contact Designations |  |  |  |  |  |  |
| C37.20.6-1997 (R2002) | IEEE Standard for 4.76 kV to 38 kV Rated Grounding and Testing Devices used in Enclosed | SA | Current | 2007 |  |  | Liaison to SA |
| C37.59-2002 | IEEE Standard Requirements for Conversion of Power Switchgear Equipment | ADSCOM | Current | 2007 | RS | Pete W. Dwyer | New upgrades under development |
| C37.81-1989 (R1994) | IEEE Guide for Seismic Qualification of Class 1E Metal-Enclosed Power Switchgear Assemblies | SA |  |  |  |  |  |
| C37.82-1987 (R1992) | IEEE Standard for the Qualification of Switchgear Assemblies for Class 1E Applications in Nuclear Power Generating Stations | SA |  |  |  |  |  |
| C37.100-1992 (R2001) | IEEE Standard Definitions for Power Switchgear | ADSCOM |  | 2006 |  |  |  |
| C37.100.1 | IEEE Switchgear Common Clauses | ADSCOM | In Work |  |  | Dave Stone | Under revision after 1st ballot |
| C37.121- 1989 | Unit Substations |  |  | 2004-2005 | AG |  | C37.121 reaffirmed 3-00. |