Reclosers and Other Distribution Equipment (RODE) Subcommittee

Meeting Minutes

St. Pete Beach, Florida – May 10, 2005

| Members | Present: | Guests: |
| --- | --- | --- |
| Chris Ambrose John Angelis Bob Behl Bob Brown Ray Capra Harry Hirz George House Bill Hurst Ed Jankowich | Steve Meiners Don Parker Tim Royster Francois Soulard Brian Steinbrecher John Wood Ken Workman Jan Zawadzki | Chuck Ball Frank DeCesaro Randy Dotson Jim Swank Walt VonMiller |

1.   Call to order

The meeting was called to order at 2:00 PM by Chairman John Wood.   There were 17 members and 5 guests present. The current RODE membership is 28 (see attached membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

Don Parker, Brian Steinbrecher, and Ken Workman requested membership which has now been approved.

4.   Approval of Minutes

The Fall 2004 meeting minutes were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

6.  Working Group Reports

a) Recloser Standard C37.60  Working Group Chairman Dave Stone reported the following by a written statement and read by John Wood:

C37.60 – 2003 Dual Logo Status:

Undergoing IEC Standardization Management Board Questions of Principle ballot due to close 7 June.  Then will be forwarded to SC17A to vote on document as a Final DFT international standard (FDIS).

b)Sectionalizer Standard C37.63  Working Group Chairman Marcel Fortin.

Marcel was not able to attend this RODE meeting.  However, this revised standard was approved on February 14, 2005.  Marcel was able to go from PAR to an approved standard in only 2 ½ years.  Maybe during the next RODE Subcommittee meeting Marcel can share his secrets with us.

c) Capacitor Switch Standard C37.66  Working Group Chairman Harry Hirz reported the following:

The Working Group met on Monday, May 9, 2005, at 1:30 PM.  There were 9 members of the working group and 17 guests present at the meeting.  Harry Hirz, Working Group Chairman, presided over the meeting.

The meeting was relatively short based on the successful 2nd recirculation ballot of Draft 12 that closed on Friday, May 6.  The 2nd recirculation ballot resolved all but one existing negative.  This negative was known at the time of balloting but it could not resolved to the voter’s satisfaction and details (objection to using time constants instead of X/R in tables 2a & b and three ratings in Table 2a) were included in the recirculation balloting package.  The recirculation ballot was approved by 98% of the voters allowing the standard to move to the next step of the approval process.

A proposal package is now underway to obtain RevCom approval of the balloted standard.  The only item to be resolved is how to include some additional SCC14 editorial/coordination comments into the balloted Draft 12 that were received during the 2nd recirculation.  Clarification on this point has been requested from Dave Ringle, IEEE.  The RevCom approval package will be processed before the end of May 2005 in time for the June RevCom meeting.  As an additional note, the PAR was extended one final time till the end of 2005 to allow the revised standard to be published.

Harry Hirz

Working Group Chairman, C37.66

Standard Requirements for Capacitor Switches for Alternating-Current Systems Subcommittee

May 10, 2005

d) Task Force on Controls for Distribution Equipment   Task Force Chairman Bill Hurst reported the following:

Introductions:

A total of thirteen people were present (9 members and 4 guests).  See the attached roster of members and guests of the Task Force that identifies people present at the meeting.

Review of Task Force Purpose:

There are voids in existing standards regarding special requirements associated with the application of controls on distribution lines (outside the substation).  The purpose of this task force is to identify these special requirements and define the necessary testing.  Existing standards will be researched and referenced where appropriate.  Some examples of these requirements (with designated leaders) are:

temperature, humidity, frost (Chuck Ball)

mechanical vibration (Bill Hurst)

harmonics (Open)

grounding variations (Harry Hirz)

electro-magnetic interference (Bob Behl)

lightning and other surges (Frank DeCesaro)

user / producer survey (Francois Soulard)

Review of Existing Standards:

A list of applicable IEEE and IEC standards is attached.  For the purpose of this Task Force, we have been given permission to share standards that individuals possess.  Bill Hurst obtained copies of the IEEE standards and can provide them as required.  Ed Jankowich has offered to provide copies of specific IEC standards to members as required.

Refer to the attached document “Summary Review”.  This is a compilation of notes for the various topics resulting from discussions at previous meetings.

Action Items:

1) Bill Hurst will verify the leaders and members for each of the topics.

2)  The leaders for each topic will solicit additional expert help to complete the review of standards and identification of gaps.  Leaders will complete and distribute a report of the review by the end of July for the Task Force to review prior to the next meeting.

3)  Francois (through Bill Hurst) will distribute the draft survey to the Task Force for review.  Francois and Bill will determine the method for executing the survey to members of the Switchgear Committee and others.

7.   Old Business

Revising Standards C37.60 and C37.74 to include 1) thermal cycling test for solid dielectric equipment, 2) failure mode tests, and 3) general revisions was discussed.  The subcommittee agreed to start the revisions to these two standards.

8.   New Business

Steven Meiners addressed the RODE Subcommittee with questions regarding Standard C37.74.

The following are the comments from sub-committee:

- para. 9.1 - ground suitability.  The text in the standard is specific for submersible/tank type switch enclosures.  For more conventional Padmount, where a ground bus is used bolting in place of welding is acceptable.  To demonstrate the ability of this type of ground a short time test is to be conducted.

- para. 9.10 - enclosure security.  The reference para. 8.7.2 for C57.12.28 could have been from a previous version of C57.12.28.  The security requirements as define in para. 4.1, of C57.12.28-1999, is to be used all inclusive for requirements of security of Padmount enclosures.

- C37.74 can be used to apply Padmount equipment in a indoor application.

9. Next Meetings:

- 2005 Fall meeting, October 2-6, 2005, Omni Mont-Royal, Montreal, Canada

- 2006 Spring meeting, May 7-11, 2006, San Luis Resort, Galveston, Texas

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee

Attachments:

See S05RODEa1 - RODE Standards Status Report.

See S05RODEa2 - RODE Membership Roster