Chair: Neil McCord, Southern States LLC

neil.mccord@ieee.org ph 770/946-4562; fax 770/946-8106

# Minutes:

- Reviewed patent slides

- Reviewed previous minutes

- Discussion of comparison tables

- Discussion of scope and action plan

# Results of meeting:

## Scope of this task force:

To combine the various Capacitive Switching Testing Standards in the various IEEE/ANSI C37 documents into a Common Clause.  The scope is limited to capacitor switching tests not short circuit fault interrupting or any other duties.

Combine the capacitor switching sections of:

- High Voltage Circuit Breaker C37.09a.

- Capacitor Switches C.37.66

- Interrupter Switches IEEE 1247

- Circuit Switcher C37.016

- We will review Reclosers C37.60 and C37.74 to see if they should be included.

- At this time this task force will not evaluate the IEC documents 60694 and 62271-100 since C37.09a has harmonized with these documents.

## Action plan for the task force:

- Basic comparison tables have been created for reference in comparing the standards.  These will be expanded as necessary during the project to assist in the tasks.

- The chairman will create a working document to get this project moving.  Process:

  - Start with C37.09a as a basis. This document has just been completed and harmonized with IEC so it is rather difficult to change.

  - Get C37.09a from IEEE so that it is in the correct format with respect to the style manual.

  - Work to combine the capacitor switching testing standards of C37.66 and 1247.

  - Fold the combined language into C37.09a.

  - Create a document that allows a menu of options for the product standards to reference based on their requirements.

- Plan for the next meeting is to review the combined document.