Minutes of the meeting held on Tuesday October 4, 2005 from 2:00 PM to 6:00 PM and on Wednesday October 5, 2005 from 8:00 AM to 9:30 AM. WG Revision of C37.06/D7 - AC High Voltage Circuit Breakers Rated on a Symmetrical Current Basis - Preferred Ratings and Related Required Capabilities

Attendees: 24 Members and 15 Guests (47 members up to now).

The purpose of the meeting was to continue to discuss the comments received from the D6 vote within the Switchgear membership and other comments received during the summer (harmonization).

We recalled that the result of the vote was 86 eligible vote, 53 affirmative with comments, 14 negative with comments and 5 abstentions.

75 % affirmative vote was reached (79% affirmative)

We spend the first hours to evaluate the comments send by the negative and the non-negative votes.

On a lighter side, a new Vice Chairman of the working group was voted on: Mr. Bill Bergman.

Some of the main comments were discussed as capacitance switching rating and BIL rating / chopped waves  of vacuum breakers and GIS ratings.

The resolution of the Capacitance switching preferred rating was proposed. The tables were finalized.

The intend is to finalized version D7 as per the IEEE Style Manual.

The old C37.06.1 is now included within the main document not as an annex. Mr. Devki Sharma will see at a better integration of the old Annex B into the main document and will report in 4 weeks.

My intend is to respond to all comments directly by e-mail to the authors, (negative or not), as the working groups recommendations will be obtained.

We will re-circulate the version 7 to the member in about two months, and we will go to a new round of vote (IEEE Switchgear) based on this revised version. We already know that there will be two negatives that will stay negative, as the version 7 will not satisfy (contrary to current policy) the voters.