Quality & Reliability Working Group

Meeting Minutes October 17, 2007 Philadelphia, PA

- IEEE Bylaw notice regarding patents and discussion content was shown to WG

- Introduction of Members and Guests (19 members + 14 guests)

- Minutes of Florida, St. Pete Beach, May 2007 were approved

- Status of Standards/Guides

  - Standards Development

    - PC37.12.1 “IEEE Guide for High-Voltage (>1000 V) Circuit Breaker Instruction Manual Content”

    - Documents submitted to RevCom 2007-10-15

    - One outstanding negative ballot declared out of scope and irresolvable, 99% affirmative ballot

  - Reaffirmation

    - C37.10-1995(R2001) “IEEE Guide for Diagnostics and Failure Investigation of Power Circuit Breakers” – invitation to ballot (reaffirmation) underway

    - 1325-1995(R2002) “IEEE Recommended Practice for Reporting Field Failure Data for Power Circuit Breakers” – ballot pool formed to be balloted (reaffirmation) concurrent with C37.10

  - Valid Standards/Guides

    - C37.10.1 “IEEE Guide for the Selection of Monitoring for Circuit Breakers” – reaffirmed 2006

  - Standards Revision

    - IEEE C37.10, 1325 and C37.10.1 have related topics of circuit breaker diagnostics, failure analysis techniques, testing and monitoring information.

    - Members will review how to combine or reconfigure these standards into either one or two revised Guides to provide a more consistent document(s).  Suggestions are to combine C37.10 and 1325; another is to combine all three documents; another is to produce one guide related solely related to failure analysis and reporting with another guide related to diagnostics and monitoring.

    - There is a need to continue to have copyright release for certain tables for purchasers use.

    - There is a need to publicize these standards with users field and engineering staff.  Members are urged to promote the use of these Guides at various industry forums.

- New Business

The group discussed the idea of producing some guidance for users to answer questions such as:

- How do you know the condition of your circuit breaker?

- What would you want to know or see if you were thinking that your circuit breaker should be replaced?

- What records should an owner keep to determine the condition of HV circuit breakers?

Some utilities replied and explained the process of changing circuit breakers in their companies (Asset Management System): Dominion Power, TVA, Baltimore Gas & Electric, Con Ed, American Transmission Company, Ameren, Detroit Edison, First Energy Corp, and others.  Members are to gather their ideas for the next meeting.

W.J. (Bill) Bergman

Quality & Reliability WG Chair

2007-10-17

bergman@ieee.org