IEEE PES Switchgear Committee, HVCB, HVCB Quality & Reliability WG

Meeting in Orlando, FL	2008-05-20

- The WG Chair reviewed IEEE Policy on patents and Other Guidelines for IEEE WG Meetings

- The WG meeting was attended by 42 participants (24 members)

- IEEE Std C37.12.1 “IEEE Guide for High-Voltage (>1000 V) Circuit Breaker Instruction Manual Content” has been published

- IEEE Std C37.10 “IEEE Guide for Diagnostics and Failure Investigation of Power Circuit Breakers” has been reaffirmed

- IEEE Std 1325 “IEEE Recommended Practice for Reporting Field Failure Data for Power Circuit Breakers” has been reaffirmed

- A task force has been established to review the revision and consolidation of

- IEEE C37.10 “IEEE Guide for Diagnostics and Failure Investigation of Power Circuit Breakers”

- IEEE 1325 “IEEE Recommended Practice for Reporting Field Failure Data for Power Circuit Breakers”

A work program has been constructed.  Members of the TF will review the Guide (C37.10) and the Recommended Practice (1325) and prepare a outline of the proposed new recommended practice.

Members of the Low Voltage Switchgear Devices (LVSD) and Switchgear Assemblies (SA) will be invited to participate.

The task force proposes:

Title (Proposed)

IEEE Recommended Practice for Investigation, Analysis and Reporting of Power Circuit Breaker Failures

Scope (Proposed)

This guide recommends practices and processes to be used to perform and report failure investigations of power circuit breakers.

Purpose (Proposed)

The purpose of this guide is to:

- provide sufficient guidelines and promote uniformity in the analysis of power circuit breaker failures;

- provide guidance for systematic and uniform data collection so that valuable facts are not lost or destroyed;

- provide a methodology by which the most probable cause of any particular circuit breaker failure may be determined;

- encourage cooperative efforts by users and manufacturers during failure analysis;

- recommend a practice for reporting Field Failures for power circuit breakers

- The TF will present a proposed outline of the revised standards and discuss initial drafts at the Fall 2008 meeting.  The WG will then apply for a PAR.

W.J. (Bill) Bergman

bergman@ieee.org