Solid Dielectric Task Force – Minutes – DRAFT

May 19, 2008

Orlando, FL

Chairman – Chris Ambrose

Secretary - François Soulard

The meeting was called to order by the Task Force Chair, Chris Ambrose, at approximately 3:50 PM and the roster was circulated.  There were 27 persons present; 16 members, 14 guests, and 1 corresponding member.

Marcel Fortin officially turned over the duties of secretary for the Task Force to François Soulard, who graciously accepted this responsibility.  We would like to thank Marcel for his many valued contributions to the Task Force.

Gerard Schoonenberg was not able to attend, due to health reasons, but he expects to be able to attend the next meeting in Calgary.

The IEEE required slides on patents, inappropriate topics and the new FAQ were presented, with no comments or concerns raised.

The minutes of Task Force meeting in Philadelphia (Oct. 15, 2007) were presented, reviewed, and accepted (proposed - Ray Capra and seconded - Steve Meiners).

Old business:

The task force has both a public and a private website, but neither is populated at this time.  Chris presented information on both sites, and the username and password for the secure site to the Task Force attendees.  Chris will begin to populate the site before the next meeting.

Chris presented a list of papers from the 9th IEEE International Conference on Solid Dielectrics, 8th-13th July, 2007, held in England.  Most of the papers seemed to be overly technical or dealt with cable issues, although some of the papers did seen promising.  Marcel volunteered to perform a quick overview filter of the papers by the end of June.  Chris will forward requests for any relevant papers to Matt Ceglia at IEEE.

Review and Discussion of IEC and IEEE Standards:

The team began to review the IEC and IEEE standards assigned at the previous meeting.  Nenad Uzelac had developed a template to be used for the review of the standards.

Documents Reviewed:

- IEC STD by Nenad:

- IEC 60502-1 by Jeff Geiger: Has been reviewed and mentioned that it refer to cable. Jeff has presented the result of his research. He concluded that absorption and oil immersion testing should be discussed.

- IEC 60502-4 by Gerard Schoonerberg has reviewed the document.

- Document Template from Nenad Uzelac; the template has been reviewed and adjusted according to group comments. Following clarification has been made (ref Common Clauses):

  - Design test; is to verify the product according to a Standard

  - Routine test; every single product are subject to these test

  - Production test and Field test can be anything

  - Dissipation factor is suggested by Marcel Fortin to be use in Type Test and Routine Test as it is made on transformers;

  - White papers review: Presented to the group.

- Tim Taylor reviewed IEEE-386.  The version noted by Tim will be available on our web site.

- Tim Taylor reviewed IEEE-404.  For the most part, this was not relevant, except for part 7.9 – Cycling aging test for extruded joints.

- Marcel suggested that we refer to C37.100.1, clauses 6 and 7.

General discussion:

- An informative annex was suggested for Field Tests.

- Question: Are we preparing a document to test solid dielectric material and how are we are going to address it to product standard?

  - No, it probably will have a form of a report.

- There was a discussion of mechanical tests, such as force on the terminals and the effects of vibration during transportation.

Develop plans for future activities:

- Chris will post the revised template, and all assignees will be asked to review their assigned standards against the new template and present their results at the next meeting.

- Larry Putman volunteered to work on Handling Test issues, specifically vibration and impact.

- Chris will post Tim’s marked up copy of IEEE-386 and a copy of C37.100.1 to the secure web page for the use of the Task Force.

New members:

- Frank Muench has upgraded from corresponding to full member of the Task Force.

- Antone Bonner has upgraded from guest to full member of the Task Force.

Future Meetings:

- Fall 2008 – October 12-16, 2008, Calgary Alberta Canada

- Spring 2009; Asheville, NC.

The meeting was adjourned at approximately 5:25 PM.

Respectfully submitted,

Chris Ambrose

Task Force Chair